SECTION 07 21 13

CONTINUOUS INSULATION XCI PLY CLASS A WALL PANELS

This specification is based on the continuous insulation products of Hunter Panels, located at:

15 Franklin Street

Portland, Maine 04101

Phone: (207) 761-5678

Toll Free: (888) 746-1114

Fax: (877) 775-1769

E-mail: info@hpanels.com

Internet: www.hunterpanels.com

Hunter Panels has been an industry leader in Polyiso insulation for over 20 years. Hunter’s Xci products are designed for use in commercial and residential wall applications to provide “ci” continuous insulation within the building envelope.

This specification includes Xci Ply Class A, an energy efficient rigid insulation panel composed of a closed cell class A polyisocyanurate foam core bonded to a premium performance coated glass facer on one side and 5/8 inch or 3⁄4 inch 5-ply fire treated (FT) plywood on the other. It is designed to provide both continuous insulation and a cladding attachment substrate in commercial wall assemblies meeting the acceptance criteria of NFPA 285 for building Types I-IV. For a complete list of NFPA 285 compliant assembly options please call our technical team at 888-746-1114 or reference the report titled Engineering Extensions Based on NFPA 285 Tests on our website, www.hunterpanels.com.  In specific wood stud applications this panel can be used as structural sheathing.

Follow the instructions listed in the ** NOTE TO SPECIFIER ** included throughout the specification. Edit carefully to suit project requirements. Modify as necessary and delete paragraphs that are not applicable.

GENERAL

SECTION INCLUDES

Xci Ply Class A Continuous Insulation Composite Panels for Exterior Walls

** NOTE TO SPECIFIER ** - Delete any paragraphs below not applicable to project

RELATED SECTIONS

Section 03300 - Cast In Place Concrete: Concrete base wall.

Section 03400 - Pre-Cast Concrete: Pre-cast concrete base wall.

Section 04210 - Clay Masonry: Brick facing.

Section 04800 - Masonry Assemblies: Masonry base wall.

Section 04850 - Stone Facing.

Section 05400 - Cold Formed Metal Framing.

Section 07260 - Vapor Retarders: Vapor retarder materials over insulation to adjacent insulation.

Section 07270 - Air Barriers: Air seal materials over insulation to adjacent insulation.

Section 09110 - Non-Structural Metal Framing.

Section 09200 - Plaster and Gypsum Board.

Section 09220 - Stucco.

** NOTE TO SPECIFIER ** Delete references from the list below that are not actually required by the text of the edited section; add others as required.

REFERENCES

ASTM C 209 – Methods of Testing Insulating Board, Structural and Decorative.

ASTM C 518 - Steady State Thermal Transmission by Means Of The Heat Flow Meter Apparatus (R-Value)

ASTM C 1289 – Specifications for Faced Rigid Cellular Polyisocyanurate Thermal Insulating Board.

ASTM D 1621 – Test Methods for Compressive Properties of Rigid Cellular Plastics.

ASTM D 2126 - Test Method for Response of Rigid Cellular Plastics to Thermal and Humid Aging.

ASTM D 3273 - Standard Test Method for Resistance to Growth of Mold on the Surface of Interior Coatings in an Environmental Chamber.

ASTM E 84 - Standard Test Method for Surface Burning Characteristics of Building Materials.

ASTM E 96 - Test Method for Water Vapor Transmission of Materials.

NFPA 285 - Standard Fire Test Method for Evaluation Of Fire Propagation Characteristics Of Exterior Non-Load-Bearing Wall Assemblies Containing Combustible Components.

Priest and Associates Engineering Extensions Based on NFPA 285 Tests

K.	DrJ TER 2102-05: Engineered fastening for non-structural applications

L.	DrJ TER 1508-01: Shearwall Performance (for specific wood stud applications)** NOTE TO SPECIFIER ** Continuous insulation wall panels are intended to be used continuous over framing members and to be relatively free of significant thermal bridging. Coordinate with other trades to minimize the penetration of thermal conductors through the wall system. The incorporation of Weather Resistant Barriers (air, vapor and moisture) is a critical element of a continuous insulation wall assembly. It is strongly recommended that the Architect perform hygrothermal analysis of the assembly at the location of each project using local code requirements and ASHRAE Standards. The calculations should be used to verify the performance of the assembly and to determine the locations of the weather resistant barrier(s) as required.

M.	DrJ TER 1402-01: Fire Performance

N.	ASHRAE 90.1- Energy Standard for Buildings Except Low-Rise Residential Buildings

O.	IBC Chapter 26- Foam Plastic

P.	California Code of Regulations, Title 24, Insulation Quality Standard License #TI-1420

** NOTE TO SPECIFIER ** System Description contains components which must be part of an NFPA 285 compliant assembly.  Hunter Panels has an Engineering Extension Report from Priest & Associates that outlines all compliant wall assembly options for Types I, II, III and IV buildings that can be achieved using Xci Ply Class A. For a complete list of NFPA 285 compliant assembly options please contact our technical team at 888-746-1114 or reference the report titled Engineering Extensions Based on NFPA 285 Tests on our website, www.hunterpanels.com

1.4	SYSTEM DESCRIPTION (Table 4 of Engineering Extension Report)

A. 	Base Wall

B.	Fire-stopping at floor lines

C.	Cavity Insulation (optional)

D.	Exterior Sheathing, Sheathing/WRB combined product (optional)

E.	WRB on base wall (optional)

F.	Exterior Insulation

G.	WRB on Exterior Insulation (vapor permeable barrier required)

H.	Exterior Cladding

** NOTE TO SPECIFIER ** - Delete sections below not relevant to this project; add others as required.

  - DESIGN REQUIREMENTS

Perform work in accordance with all federal, state and local codes.

Physical properties (Foam Core):

Flame Spread Index: ASTM E 84; less than 25

Smoke Developed: ASTM E 84; less than 250.

Compressive Strength: ASTM D 1621; Grade 3 (25 psi / 172 kPa).

Dimensional Stability: ASTM D 2126, 2 percent linear change (7 days).

Moisture Vapor Permeance: ASTM E 96, 1.1 perm (57.5ng/(Pa•s•m2)).

Water Absorption: ASTM C 209, less than 0.1 percent by volume.

Service Temperature: Minus 100 degrees F to 250 degrees F (Minus 73 degrees C to 122 degrees C).

Resistance to Mold: ASTM D 3273 Passed (10).

3rd Generation Zero ODP Blowing Agent; Contains zero CFCs, HCFCs, or HFC; Virtually no Global Warming Potential (GWP)

Fire Treated Plywood:

Flame Spread Index: ASTM E 84; less than 25

Smoke Developed: ASTM E 84; less than 250.

5-Ply CDX

Hunter Panels Xci Ply Class A is evaluated and listed under DrJ TER 1402-01.  Tests include:

1.	Flame spread index of <25 and smoke developed index of <450 when tested in        accordance with ASTM E 84.

2.	Classified as Type V in accordance with ASTM C 1289

E.	Hunter Panels Xci Ply Class A is evaluated and listed under DrJ TER 1508-01.  Tests   include:

1.		Structural shearwall attachment of Xci Ply Class A to wood studs. Limited panel thicknesses for this application.

F.	Xci Ply Class A has passed the following:

1.	Meets the current continuous insulation standards of ASHRAE 90.1, IECC, and IBC Chapter 26.

2.		NFPA 285 Standard Fire Test Method for Evaluation of Fire Propagation Characteristics of Exterior Wall Assemblies Containing Combustible Components. For a complete list of NFPA 285 compliant assembly options please call our technical team at 888-746-1114 or reference the report titled Engineering Extensions Based On NFPA 285 Test on our website, www.hunterpanels.com

** NOTE TO SPECIFIER ** - Delete sections below that are not applicable.

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets and installation guides on wall panels and fasteners, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

C.	Fastening Guidelines: Manufacturer’s 3rd party engineering evaluations for attachment of Xci Ply Class A, including:

** NOTE TO SPECIFIER ** - Choose one of the following two options depending on the application.

1.        DrJ TER 1508-01 Shear Wall Performance of Xci Ply Class A: for wood stud applications only with maximum foam thickness of 2.0”.

2.          DrJ TER 2102-05:  For all non-structural applications of Xci Ply Class A to wood and steel studs, concrete, and CMU.

** NOTE TO SPECIFIER ** - Delete the following paragraphs if LEED is not applicable.

D.      LEED Submittals:  Provide documentation of how the requirements of Credit will be met:

1.	List of proposed materials with recycled content.  Indicate post-consumer recycled content and pre-consumer recycled content for each product having recycled content.

2.	Manufacturer Specific Environmental Product Declaration which conforms to ISO 14025 and Polyisocyanurate Insulation Manufacturers Association EPD.

E.       Manufacturer's Certificate:  Certify panels will conform to specified performance requirements.

QUALITY ASSURANCE

A.	Manufacturer Qualifications: Manufacturer shall be a company that regularly manufactures and assembles specified insulation in house with no outside fabrication operations.

B.	Manufacturer shall have multiple manufacturing facilities to ensure consistency of product supply.

C.	Pre-Installation Meeting:  Convene minimum one week prior to commencing Work of this section. Review installation procedures and coordination required with Related Work and include the following:

1.       Participants: Authorized representatives of the Contractor, Architect, Installer, and Manufacturer.

2.       Review wall assemblies for potential interference and conflicts and coordinate layout and support provisions for interfacing work.

3.       Review continuous insulation wall panels installation methods and procedures related to application, including manufacturer’s installation guidelines.

4.       Review firestopping requirements and weather resistive membrane requirements and placement locations.

5.      Review field quality control procedures.

DELIVERY, STORAGE, AND HANDLING

A.	Good construction practice dictates that all insulations should be protected from moisture and direct sunlight during job-site storage. Pallets of Hunter Panels Xci Ply Class A are protected with a two-step packaging process using shrink wrap and a UV resistant polyethylene bag. This moisture resistant package is designed for protection from the elements during flatbed shipment from our factories to the job-site.  Outdoor storage for extended periods of time requires waterproof tarpaulins and elevated storage above ground level a minimum of 2”.  Additionally, we recommend slitting the bundle packaging vertically down the center of the two short sides to prevent moisture accumulation within the package.

SEQUENCING

Coordinate with the installation of vapor retarders and air seal materials specified is Section 07260 and Section 07270.

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results. Do not install products under environmental conditions outside manufacturer's absolute limits.

PRODUCTS

MANUFACTURERS

Basis of Design: Xci Ply Class A produced by Hunter Panels, 15 Franklin Street, Portland, Maine 04101. Phone: (207) 761-5678 or (888) 746-1114. Fax: (877) 775-1769. E-mail: info@hpanels.com.

** NOTE TO SPECIFIER ** - Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

BOARD INSULATION

Board Insulation Bonded to Plywood: Hunter Panels Xci Ply Class A is an energy efficient rigid insulation panel composed of a closed cell Class A polyisocyanurate foam core bonded to a premium performance coated glass facer on one side and 5/8” or ¾” fire treated plywood on the other.

Foam core:

Grade 3 (25 psi)

Fire Treated Plywood Thickness:

5/8 inch.

3/4 inch.

Panel Size:

4 feet by 8 feet (1220 mm by 2440 mm).

Thickness / R Value: based on ASTM C 518 at 75 degrees F (23.9 degrees C)

1.6 inches (41 mm) / R-value 6.8 with 5/8 inch plywood facing

2.1 inches (53 mm) / R-value 9.8 with 5/8 inch plywood facing

2.6 inches (66 mm) / R-value 12.9 with 5/8 inch plywood facing

3.1 inches (79 mm) / R-value 16.1 with 5/8 inch plywood facing

3.6 inches (94 mm) / R-value 19.3 with 5/8 inch plywood facing

4.1 inches (104 mm) / R-value 22.5 with 5/8 inch plywood facing

4.6 inches (117 mm) / R-value 25.8 with 5/8 inch plywood facing

1.7 inches (43 mm) / R-value 7.0 with 3/4 inch plywood facing

2.2 inches (56 mm) / R-value 10.0 with 3/4 inch plywood facing

2.7 inches (69 mm) / R-value 13.1 with 3/4 inch plywood facing

3.2 inches (81mm) / R-value 16.3 with 3/4 inch plywood facing

3.7 inches (97 mm) / R-value 19.5 with 3/4 inch plywood facing

4.2 inches (104 mm) / R-value 22.7 with 3/4 inch plywood facing

4.7 inches (119 mm) / R-value 26.0 with 3/4 inch plywood facing

Provide to the thickness indicated on the Drawings.

** NOTE TO SPECIFIER **  Several factors are involved in the proper fastening of insulation panels. These include overall thickness of the panel, the weight of the specified cladding and the type of support provided at the base of the wall assembly. Please contact Hunter Panels for assistance with fastening rate and fastener type.

2.3		PANEL FASTENERS

Fasteners shall be approved Hunter Panels fasteners. Fasteners are a corrosion resistant type with oversized heads. Length of fasteners shall be as recommended by the panel manufacturer.

Hunter SIP/HD and SIP/HD-PT (Partial Thread): 12-16 gauge steel studs

Hunter SIP/SD and SIP/SD-PT (Partial Thread): 18-22 gauge steel studs

Hunter SIP/SD: Concrete and CMU (pre-drilling required)

Hunter SIP/WD: Wood studs

Hunter SIP/WD: Concrete and CMU (pre-drilling required)

Engineering Evaluations for fastening patterns (DrJ TER 2102-05 or DrJ TER 1508-01)

2.4	WRB

A.	Vapor permeable barrier recommended for exterior of Xci Ply Class A panels (10-60

perms)

B.	For NFPA 285 compliance, barrier must be chosen from approved options listed in our Engineering Evaluation Report from Priest and Associates

** NOTE TO SPECIFIER ** -Choose option C if single-source insulation/WRB system is desired

C.	Single-source system: Xci VP-SA-WRB, vapor permeable air and water resistive barrier available from Hunter Panels.

2.5	LIQUID JOINT SEALANT

A.	Xci BarriBond XL

B.     Xci BarriBond

C.	Xci Dyna-Trol I-XL Hybrid

EXECUTION

** NOTE TO SPECIFIER ** ** NOTE TO SPECIFIER ** - See Hunter Panel Installation Guide for recommended fastening patterns and installation methods. Coordinate panel installation requirements with wall covering manufacturer.

EXAMINATION

Do not begin installation until exterior walls have been properly prepared.

Verify that all exterior wall assembly construction has been completed to the point where the insulation may correctly be installed.

Verify that mechanical and electrical services in walls have been installed and tested and, if appropriate, verify that adjacent materials and finishes are dry and ready to receive insulation.

If wall assembly preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions.

Install in exterior spaces without gaps or voids. Do not compress insulation.

Trim insulation neatly to fit spaces. Insulate miscellaneous gaps and voids.

Fit insulation tight in spaces and tight to exterior side of mechanical and electrical services within plane of insulation.

    - Insulation must be protected from open flame and stored in accordance with the manufacturer’s instructions.

Fasten composite insulation to the structural base wall. Coordinate with the cladding or wall finish manufacturer for the attachment requirements over insulation panels.  Contact Hunter Panels for guidance when determining fastening pattern.

Install vapor retarders over insulation panels as specified in Section 07260.

Install air barriers over insulation panels as specified in Section 07270.

Xci Ply Class A is not intended to be left exposed for extended periods of time. During the time between the installation of the Xci Ply Class A and the application of the exterior cladding it is recommended that the WRB be installed as soon as possible. If the WRB is not being installed right away it is recommended that the Xci Ply Class A be protected from excess moisture and UV. All unfaced foam exposed directly to daylight can be taped with a compatible waterproof tape and the edges of the boards can be buttered with a compatible sealant.

Install exterior cladding as recommended by the cladding manufacturer and as specified in other sections of this specification. Note: the cladding manufacturer may require you to fasten the exterior cladding through the composite insulation to the structural wall.

PROTECTION

Protect installed products until completion of project.

Cover the top and edges of unfinished wall panel work to protect it from the weather and to prevent accumulation of water in the cores of the panels.

Wet panels shall be allowed to completely dry prior to application of vapor barrier and/or cladding.

Repair or replace damaged products before Substantial Completion.

END OF SECTION